BILL OF QUANTITIES

OF EXTERNAL LIGHTING OF THE TENNIS COURTS IN SPORTS CENTRE

“KUNjAK” IN VLADIČIN HAN

I THE LIGHTING OF TENNIS COURTS

- CONSTRUCTION WORKS

- Routing and excavation of the trench dimensions 0,4x0,8m in the III category ground, locating of pillars, forming of bed for cable (two layers of fine grained ground or sand) 10cm teak, placing of PVC protector and warning tape. Total cost for work, material, covering and transportation of ground surplus:

m 140 x _______ (price) ............. ___________EUR

- Manual excavation of III category ground for foundation for light pole dimensions 0,8x0,8x1,4m, 8 pieces (or according to the drawing provided by pole manufacturer) and transportation of excavated ground:

piece 8 x _______ (price) ............. ___________EUR

- Construction of concrete foundation for light pole dimensions 0,8x0,8x1,4m, 8 pieces of concrete MB 20. In foundation should be installed standard anchor basket for selected poles with anchor plates with bolts, as well as PVC pipes 2x50mm for installation of cables and tapes for grounding of Fe Zn 25x4mm length 1200mm above the foundation, all according to the drawings. The payment will be made as a complete per one foundation, with all works included:

piece 8 x _______ (price) ............. ___________EUR

- Geodetic survey, by authorised organisation, of cable route, location of poles with preparation of Situation Plan with date for underground installation Cadastre. The payment will be made as a complete per meter, with all works included:

m 140 x _______ (price) ............. ___________EUR

TOTAL FOR CONSTRUCTION WORKS ........................................_________ EUR

- ELECTRO INSTALLATION WORKS

- Procurement and installation of cable PP00 7x2,5mm2 in the trench from RO-1 to all 8 poles. The payment will be made for work, material and transport, per meter:

m 420 x _______ (price) ............. ___________EUR

- Procurement and installation, in join trench with the cable, of zinc coated metal tape Fe Zn 25x4mm and connection, using adequate bolt from RO-1 to S5 and S12 for tennis courts.

m 180 x _______ (price) ............. ___________EUR

- Procurement and installation, on prepared foundation, of steel pole, hot zinc coated outside and inside, total height 10m with foundation plate, foundation bolts and basket (platform) for holding 4 reflectors. The payment will be made for work, material and transport, per piece:

for pole H = 10m	piece 8 x _______ (price) ............. ___________EUR

- Procurement and installation of reflectors NEOS 3I/400/1522 with high pressure 400W metal halogen light bulb “Minel-Schreder” complete with supporting equipment and IP65 protection. The payment will be made for work, material and transport, per piece:

piece 28 x _______ (price) ............. ___________EUR

- Testing of the executed works with control measurement of the grounding of middle lighting, insulation resistance and resistance of the junction by authorised organisation with preparation of the Report of executed measurements and Expert Opinion on fulfilment of the protection conditions. Item includes potential adjustment of luminance angle of the lamp.

piece 1 x _______ (price) ............. ___________EUR

TOTAL FOR ELECTRO INSTALLATION WORKS..........................___________ EUR

- FINISHING WORKS

- Cost of Technical acceptance and collection of approvals and Usage permit with adequate documentation. Payment is lump sum:

piece 1 x _______ (price) ............. ___________EUR

TOTAL FOR WORKS ON LIGHTNING

OF THE FOOTBALL COURT ...................................................____________ RSD

TECHNICAL DESCRIPTION

LIGHTING OF THE TENNIS COURTS IN SPORTS CENTRA “KUNjAK”

IN VLADIČIN HAN

- GENERAL INFORMATION

Subject of this project is lighting of tennis courts with electro power supply.

- The lighting will be done using new and existing equipment installed before. It is RO-1 nearby basketball court. Other equipment – poles, cables, reflectors, electricity lockers and other will be newly installed. Disposition of the poles is defined in the drawings. Height of the poles is 10m with reflector holders for 4 reflectors. Envisaged are reflectors type NEOS 3I/400/1522 with metal halogen light bulb 400W, 2860pieces. The Reflectors are produced by “Minel-Schreder” and they are obligatory for the contractor. Number of reflectors in defined in the drawings per sports courts.

- Poles for construction of lighting in Sports Centre “KUNjAK” are hot zinced steel poles with anchors plate, foundation bolts and adequate holders for the reflectors. The height of the poles is:

H = 10m ........ 8pieces

Poles can be type URA-11, URA-7 or similar.

- Command and control of the lights

The starting of lights will be manual as needed according to one pole scheme. The reflectors will be connected according to the phases L1, L2, L3, as defined on the drawings and every reflector has separate fuse.

- Grounding and protection

Parallel with the cables for supply of the reflectors zinc coated Fe Zn tape 25x4mm tape should be installed for grounding of poles and lockers. The tape should be connected with grounding of the existing buildings and poles, all according to the provided sketch. The tape is positioned to form the ring. The covers o the poles should have arrow – danger mark.

- Measurement and protection

The measurement of consumption of electricity will be done through existing electricity meters in GRO. The protection from the danger contact voltage according to the conditions from EPS in the TT system is provided by differential power switch FID. After the finishing of the works, measurement of the resistance of connected grounding is mandatory. The join grounding has protection function for lightning grounding, to protect installation from the atmospheric discharge in the metal poles.